


OWNER’S LEAD-BASED PAINT RESPONSIBLILITIES








Housing built before 1978 may contain lead-based paint.  Lead from paint chips, and dust can pose health hazards if not taken care of properly.  Lead exposure is especially harmful to children and pregnant woman.





To guide you in the correction of defective paint and treatment of painted surfaces containing lead, the following information has been condensed from the current law (CFR 982.401).  Lead-base Paint, Safe Treatment Methods and Owner Responsibilities in section 8 housing.





SAFE TREATMENT METHODS


Wet scraping or sanding


Chemical scrapping - except paint strippers containing methylene chloride


Replacement of painted components or covering surface with durable material caulked and sealed


Scraping with infrared or coil-type heart gun with temperature below 1,100 degrees F.


HEPA vacuum sanding


HEPA vacuum needle gun


Abrasive sanding with HEPA vacuum


Contained hydro blasting or high pressure wash with HEPA vacuum








OWNER RESPONSIBILITIES TO RESIDENT’S DURING TREATMENT





Protect resident and belongings while treatment is in progress:


Residents may not enter area undergoing treatment until cleanup is complete


Furniture and belongings must be covered in the treatment area.


Remove all paint debris from the area - contain in closed plastic bag and remove from unit


Clean up area or room treated (floors etc.) using lead-specific or household detergent containing trisodium phosphate


Protect outside ground surface from contamination when scraping exterior surfaces








PROHIBITED TREATMENT METHODS


Dry sanding except around electrical outlet and small interior areas not exceeding 2 sq. ft.


Open flame burning or torching


Machine sanding, blasting or grinding without HEPA vacuum and exhaust equipment


Heat gun above 1,100 degrees F.








HELPFUL HINTS - (not Law)


The key to safe practices in treatment of defective paint - work wet and work clean up


Six-millimeter polyurethane plastic taped to baseboards covering the floor area adjoining treatment areas is very effective in catching fallen debris.  Carefully fold “poly” after treatment and place in closed plastic bag for disposal.  This method is also effective in exterior scraping operations.


Sanding paper especially designed for wet sanding is readily available in hardware stores.


A plastic spray bottle filled with water is excellent for wetting surfaces before scraping and sanding and greatly reduces dust and clean up efforts.


Workman should use a dust mask and eye protection during treatment.


Do not use canvas or fabric drop cloths - dust remains in the material and causes lead dust to be spread everywhere the cloth is taken.


